## Firm Capacity
RGGI Firm New Capacity Assumptions Development
2010-09-14
New Capacity
ISO-NE
State | Plant Name | Generating Type | Net Summer Dependable Capacity (MW) | Year
CT | Devon: 15 | Combustion Turbine | 48.5 | 2010
CT | Devon: 16 | Combustion Turbine | 48.5 | 2010
CT | Devon: 17 | Combustion Turbine | 48.5 | 2010
CT | Devon: 18 | Combustion Turbine | 48.5 | 2010
CT | Middletown: 12 | Combustion Turbine | 48.5 | 2011
CT | Middletown: 13 | Combustion Turbine | 48.5 | 2011
CT | Middletown: 14 | Combustion Turbine | 48.5 | 2011
CT | Middletown: 15 | Combustion Turbine | 48.5 | 2011
CT | Mashantucket Pequot Tribal Cogeneration: GT1 | Combustion Turbine | 7.5 | 2010
CT | Mashantucket Pequot Tribal Cogeneration: GT2 | Combustion Turbine | 7.5 | 2010
CT | Millstone Point 3 Expansion | Nuclear | 80 | 2010
CT | Plainfield Renewable Energy | Biomass/Biofuels | 21 | 2011
CT | Kleen Energy Project: CC | Combined Cycle | 560 | 2012
CT | New Haven Harbor | Combustion Turbine | 130 | 2012
MA | Indian River Hydro (MA): HY1 | Hydro | 0.76 | 2010
MA | Indian River Hydro (MA): HY2 | Hydro | 0.76 | 2010
MA | Berkshire Wind Power: WT1 10 | Wind | 15 | 2010
MA | Sugar River: 2 | Hydro | 0.2 | 2010
MA | Templeton Wind Turbine: 1 | Wind | 1 | 2010
MA | Town_of_Falmouth_Wind_Turbine: 1 | Wind | 1.65 | 2010
MA | Cape Wind: 1 | Wind | 468 | 2013
MA | Stony Brook (MA): CC2 | Combined Cycle | 280 | 2013
ME | Kibby Wind Power: WT23 44 | Wind | 66 | 2010
ME | Stetson Wind: WT39 55 | Wind | 25.5 | 2010
ME | Record Hill Wind: WT1 22 | Wind | 50.6 | 2011
ME | First Wind-Rollins Mountain | Wind | 60 | 2011
ME | Oakfield Wind, LLC (First Wind) Oakfield | Wind | 51 | 2011
NH | Clean Power Berlin | Biomass | 20 | 2013
NH | Granite Reliable Wind | Wind | 99 | 2013
RI | Ridgewood Providence: GEN16 | Landfill Gas | 22.5 | 2011
VT | Project 10: GT1 | Combustion Turbine | 20 | 2010
VT | Project 10: GT2 | Combustion Turbine | 20 | 2010
VT | Sheffield Wind Project: WT1 16 | Wind | 40 | 2011
VT | Deerfield Wind Project | Wind | 30 | 2012
NYISO
State | Plant Name | Generating Type | Net Summer Dependable Capacity (MW) | Year
NY | Blenheim-Gilboa Unit 4 uprate | Pumped Storage Uprate | 30 | 2010
NY | Chautauqua Landfill | Landfill Gas | 6.4 | 2010
NY | Empire Generating | Combined Cycle | 635 | 2010
NY | Steel Winds II | Wind | 15 | 2010
NY | Astoria Energy II | Combined Cycle | 550 | 2011
NJ | Bayonne Energy | Combustion Turbine | 512.5 | 2011
NY | Nine Mile Point II | Nuclear Uprate | 168 | 2012
NY | Munnsville Wind Power | Wind | 6 | 2013
PJM
State | Plant Name | Generating Type | Net Summer Dependable Capacity (MW) | Year
DE | Laurel | Landfill gas | 5 | 2010
DE | Hayroad Expansion | Combustion Turbine | 13 | 2010
DE | W1-062 -DMEC addition | Combustion Turbine | 67 | 2011
DE | Bluewater (R-36) | Wind | 250 (20% capacity) | 2016
IL | Exelon Chicago Solar: 1 | Solar PV | 10 | 2010
IL | GSG Wind Farm I: WT41 100 | Wind | 120 | 2010
IL | Robbins Community Power: AB1 | Biomass | 25 | 2010
IL | Robbins Community Power: AB2 | Biomass | 25 | 2010
IL | Streator Cayuga Ridge Wind Farm: WT1 80 | Wind | 190 | 2010
IL | Streator Cayuga Ridge Wind Farm: WT81 155 | Wind | 110 | 2010
IL | Top Crop Wind Farm: WT69 200 | Wind | 198 | 2010
IL | Big Sky Wind Farm: WT1 114 | Wind | 239.4 | 2011
IL | Nelson Energy Center: CC1 | Combined Cycle | 286.6 | 2011
IL | Nelson Energy Center: CC2 | Combined Cycle | 286.6 | 2011
MD | Criterion Wind Power Generating Facility: WT 1 28 | Wind | 70 | 2011
MD | Roth Rock Wind Power: WT1 20 | Wind | 50 | 2011
NJ | PSE&G Area solar project | Solar | 52 | 2010
NJ | Dynamic Energy Resources (Farmingdale, NJ) | Solar | 0.5 | 2010
NJ | New Jersey Medowlands Commission (Kearny, NJ) | Solar | 1.9 | 2010
NJ | Recurrent Energy Development Holdings (5 locations Cranbury, NJ) | Solar | 7.498 | 2010
NJ | PSE&G Barringer Highschool Project | Solar | 0.549 | 2010
NJ | PSE&G Park Elementary School Project | Solar | 0.432 | 2010
NJ | PSE&G Central Highschool Project | Solar | 0.773 | 2010
NJ | PSE&G Camden Street School Project | Solar | 0.425 | 2010
NJ | PSE&G (2 buildings Perth Amboy | Solar | 2.308 | 2010
NJ | PPL Renewable Energy LLC (locatation White Township, New Jersey) | Solar | 2 | 2011
NJ | Britten Road (U3-32) solar generation project | Solar | 20 | 2011
NJ | Paradise Road | Solar | 5.1 | 2011
NJ | Recurrent Energy Development Holdings (8 locatations Cranbury, NJ) | Solar | 16 | 2011
NJ | Vineland Municipal Electric Utility | Natural Gas | 63 | 2012
NJ | Mt. Hope Waterpower Project | Biomass | 30 | 2013
OH | Wyandot Solar: PV1 | Solar PV | 10.08 | 2010
OH | Dresden Energy Facility: CC | Combined Cycle | 540 | 2013
PA | Archbald: GEN3 | Landfill Gas | 4.6 | 2010
PA | Archbald: GEN4 | Landfill Gas | 4.6 | 2010
PA | Reading Plant: 1 | Biomass | 30 | 2010
PA | Delta Power Plant: CC1 | Combined Cycle | 556 | 2011
PA | Limerick: 1 | Nuclear Uprate | 20.5 | 2011
PA | Limerick: 2 | Nuclear Uprate | 20.5 | 2011
PA | Holtwood: HY 14 | Hydro | 62.5 | 2013
PA | Holtwood: HY 15 | Hydro | 62.5 | 2013
VA | Virginia City Hybrid Energy Center: CFB | Coal | 585 | 2012
WV | Beech Ridge Wind Farm (WV): WT1 67 | Wind | 100.5 | 2010
WV | Charleston Landfill: IC 1-2 | Landfill Gas | 2 | 2010
WV | Raleigh County Landfill: IC 1 | Landfill Gas | 2 | 2010
WV | Longview Power: AB1 | Coal | 695 | 2011

## Retirements & Fuel Switching
RGGI Firm Retirements/Fuel Switching Assumptions Development
2010-09-14
Retirements
ISO-NE
State | Plant Name | Generating Type | Net Summer Dependable Capacity (MW) | Year
MA | Somerset Station: 6 | Coal | 109 | 2012
VT | Vermont Yankee | Nuclear | 604.25 | 2012
NYISO
State | Plant Name | Generating Type | Net Summer Dependable Capacity (MW) | Year
NY | Charles Poletti: 6 | Oil/Gas Steam | 890 | 2010
NY | Green Island: 1 | Hydro | 0.868 | 2011
NY | Green Island: 2 | Hydro | 0.868 | 2011
NY | Green Island: 3 | Hydro | 0.868 | 2011
NY | Green Island: 4 | Hydro | 0.868 | 2011
PA | Energy Systems North East, LLC unit | Combined Cycle | 88 | 2011
PJM
State | Plant Name | Generating Type | Net Summer Dependable Capacity (MW) | Year
DC | Benning: 15 | Oil/Gas Steam | 275 | 2012
DC | Benning: 16 | Oil/Gas Steam | 275 | 2012
DC | Buzzard Point: E1 | Combustion Turbine | 16 | 2012
DC | Buzzard Point: E2 | Combustion Turbine | 16 | 2012
DC | Buzzard Point: E4 | Combustion Turbine | 16 | 2012
DC | Buzzard Point: E5 | Combustion Turbine | 16 | 2012
DC | Buzzard Point: E6 | Combustion Turbine | 16 | 2012
DC | Buzzard Point: E7 | Combustion Turbine | 16 | 2012
DC | Buzzard Point: E8 | Combustion Turbine | 16 | 2012
DC | Buzzard Point: W9 | Combustion Turbine | 16 | 2012
DC | Buzzard Point: W10 | Combustion Turbine | 16 | 2012
DC | Buzzard Point: W11 | Combustion Turbine | 16 | 2012
DC | Buzzard Point: W12 | Combustion Turbine | 16 | 2012
DC | Buzzard Point: W13 | Combustion Turbine | 16 | 2012
DC | Buzzard Point: W14 | Combustion Turbine | 16 | 2012
DC | Buzzard Point: W15 | Combustion Turbine | 16 | 2012
DC | Buzzard Point: W16 | Combustion Turbine | 16 | 2012
DE | Indian River Generating Station (DE): 2 | Coal | 91 | 2010
DE | Indian River Generating Station (DE): 1 | Coal | 91 | 2011
DE | Indian River Generating Station (DE): 3 | Coal | 165 | 2014
IL | Will County: 1 | Coal | 151 | 2010
IL | Will County: 2 | Coal | 148 | 2010
NJ | Howard Down: 10 | Coal | 17 | 2010
NJ | Hudson Generating Station: 1 | Oil/Gas Steam | 383 | 2011
NJ | Kearny Generating Station: 10 | Combustion Turbine | 122 | 2012
NJ | Kearny Generating Station: 11 | Combustion Turbine | 128 | 2012
NJ | Kearny Generating Station: 9 | Combustion Turbine | 21 | 2013
OH | Conesville: 3 | Coal | 165 | 2012
OH | Richard H Gorsuch: 1 | Coal | 50 | 2012
OH | Richard H Gorsuch: 2 | Coal | 50 | 2012
OH | Richard H Gorsuch: 3 | Coal | 50 | 2012
OH | Richard H Gorsuch: 4 | Coal | 50 | 2012
OH | MUSKINGUM RIVER: 1 | Coal | 190 | 2015
OH | MUSKINGUM RIVER: 2 | Coal | 190 | 2015
OH | MUSKINGUM RIVER: 3 | Coal | 205 | 2015
OH | MUSKINGUM RIVER: 4 | Coal | 205 | 2015
PA | Hunlock Power Station 1: 3 | Coal | 45 | 2010
PA | Cromby Generating Station: 1 | Coal | 144 | 2011
PA | Cromby Generating Station: 2 | Oil/Gas Steam | 201 | 2011
PA | Cromby Generating Station: ICI | Combustion Turbine | 2.7 | 2011
PA | Eddystone Generating Station: 1 | Coal | 279 | 2011
PA | Eddystone Generating Station: 2 | Coal | 309 | 2012
WV | Phil Sporn: 1 | Coal | 145 | 2013
Fuel Switching
PJM
State | Plant Name | Generating Type | Net Summer Dependable Capacity (MW) | Year
NJ | Deepwater: 6 | Coal to Natural Gas | 83 | 2010
DE | Edge Moor: 3 | Coal to Natural Gas | 86 | 2010
DE | Edge Moor: 4 | Coal to Natural Gas | 174 | 2010