## Firm-NYISO
RGGI Assumptions: NYISO Firm Builds and Retirements
Released 1/30/17
Firm Builds - Conventional
Capacity Type | Plant Name | Units | State | Zone | Online Date | 2015 (MW) | 2016 (MW) | 2017 (MW) | 2018 (MW) | 2019 (MW) | 2020 (MW) | 2021 (MW) | Total MW (2015-2021) | 2030 (MW)
Combined Cycle | CPV Valley Energy Center | 1 | NY | Zone G | 2018-01-01 |  |  |  | 751 |  |  |  | 751
Total Combined Cycle | [5 empty] | 0 | 0 | 0 | 751 | 0 | 0 | 0 | 751 | 0
Firm Builds - Renewable (not including CES builds)
| Fulton | 2 | NY | Zone C | 2017-11-01 |  |  | 0.2 |  |  |  |  | 0.2
Total Hydro | [5 empty] | 0 | 0 | 0.2 | 0 | 0 | 0 | 0 | 0.2 | 0
Wind | Ball Hill Wind Farm |  | NY | Zone A | 2018 |  |  |  | 100 |  |  |  | 100
| Arkwright Wind |  | NY | Zone A | 2017 |  |  | 77.7 |  |  |  |  | 77.7
| Jericho Rise |  | NY | Zone E | Online |  | 77.7 | [5 empty] | 77.7
| Marsh Hill Wind |  | NY | Zone C | Online | 17.8 | [6 empty] | 17.8
| Black Oak Wind Farm |  | NY | Zone C | 2017-11-30 |  | 12.6 | [5 empty] | 12.6
| Cody Road Wind Farm |  | NY | Zone C | 2017-09-30 |  | 10 | [5 empty] | 10
Total Wind | [5 empty] | 17.8 | 100.3 | 77.7 | 100 | 0 | 0 | 0 | 295.8 | 0
Biomass | TBE-Montgomery LLC | CTG | NY | Zone G | 2018 |  |  |  | 21 |  |  |  | 21
| Niagara BioEnergy |  | NY | Zone A | 2017-03-31 |  | 0.9 | [5 empty] | 0.9
| Buffalo BioEnergy |  | NY | Zone A | 2017-03-31 |  | 0.3 | [5 empty] | 0.3
Total Biomass | [5 empty] | 0 | 1.2 | 0 | 21 | 0 | 0 | 0 | 22.2 | 0
Other | Morgan Stanley (Fuel Cell) |  | NY | Zone J | 2016-10-01 |  | 0.8 | [5 empty] | 0.8
| Verizon Fuel Cell |  | NY | Zone I | 2014-12-17 | 0.8 | [6 empty] | 0.8
| Stop & Shop Fuel Cell |  | NY | Zone I | 2014-12-29 | 0.3 | [6 empty] | 0.3
| AT&T Fuel Cell Rego Park |  | NY | Zone J | 2014-12-29 |  | 0.5 | [5 empty] | 0.5
Total Other | [5 empty] | 1.1 | 1.3 | 0 | 0 | 0 | 0 | 0 | 2.4 | 0
Total NYISO Firm Builds | [5 empty] | 18.9 | 102.8 | 77.9 | 872 | 0 | 0 | 0 | 1071.6 | 0
Firm Retirements
Capacity Type | Plant Name | Units | State | Zone | Retirement Date | 2015 (MW) | 2016 (MW) | 2017 (MW) | 2018 (MW) | 2019 (MW) | 2020 (MW) | 2021 (MW) | Total MW (2015-2021) | 2030 (MW)
Biomass | Niagara Bio-Gen |  | NY | Zone A | 2016 |  | 51 | [5 empty] | 51
Total Biomass | [5 empty] | 0 | 51 | 0 | 0 | 0 | 0 | 0 | 51 | 0
Gas | Ravenswood CT | GT4, GT5, GT6 | NY | Zone J | 2016 |  | 39.9 | [5 empty] | 39.9
| NRG Astoria GTs | 05, 07, 08, 10-13 | NY | Zone J | 2016 |  | 104.7 | [5 empty] | 104.7
| Shoreham | GT3 & GT4 | NY | Zone K | 2017 |  |  | 86.5 |  |  |  |  | 86.5
Total Combined Cycle | [5 empty] | 0 | 144.6 | 86.5 | 0 | 0 | 0 | 0 | 231.1 | 0
Coal | Cayuga | 1 & 2 | NY | Zone C | 2017-12-01 |  |  | 308.8 |  |  |  |  | 308.8
| C.R. Huntley | 67 & 68 | NY | Zone A | 2016 |  | 380 | [5 empty] | 380
| Dunkirk | 2-4 | NY | Zone A | 2016 |  | 445 | [5 empty] | 445
Total Coal | [5 empty] | 0 | 825 | 308.8 | 0 | 0 | 0 | 0 | 1133.8 | 0
Nuclear | Ginna | 1 | NY | Zone B | 2030 | [7 empty] | 0 | 582
| Nine Mile Point | 1 | NY | Zone C | 2030 | [7 empty] | 0 | 630.5
| Indian Point | 2 | NY | Zone H | 2020 | [5 empty] | 1026.5 |  | 1026.5
| Indian Point | 3 | NY | Zone H | 2021 | [6 empty] | 1040.4 | 1040.4
Total Nuclear | [5 empty] | 0 | 0 | 0 | 0 | 0 | 1026.5 | 1040.4 | 2066.9 | 1212.5
Total NYISO Retirements | [5 empty] | 0 | 1020.6 | 395.3 | 0 | 0 | 1026.5 | 1040.4 | 3482.8 | 1212.5
Return-to-Service
Capacity Type | Plant Name | Units | State | Zone | Return-to-Service Date | 2015 (MW) | 2016 (MW) | 2017 (MW) | 2018 (MW) | 2019 (MW) | 2020 (MW) | 2021 (MW) | Total MW (2015-2021) | 2030 (MW)
Oil/Gas | Bowline Point | 2 | NY | Zone G | 2015-08-01 | 557.4 | [6 empty] | 557.4
| Astoria | Gen 2 | NY | Zone J | 2015 | 177 | [6 empty] | 177
Total Oil/Gas | Total NYISO Return to Service |  |  |  |  | 734.4 | 0 | 0 | 0 | 0 | 0 | 0 | 734.4 | 0

## Firm-PJM
RGGI Assumptions: PJM Firm Builds and Retirements
Released 1/30/17
Firm Builds
Capacity Type | Plant Name | Units | State | Zone | Online Date | 2015 (MW) | 2016 (MW) | 2017 (MW) | 2018 (MW) | 2019 (MW) | 2020 (MW) | Total MW (2015-2020)
Combined Cycle | Garrison Energy Center | CC2 | DE | DPL South | Online | 309 | [5 empty] | 309
| Wildcat Point Generation Facility | 1 | MD | ODEC | 2017 |  |  | 1000 |  |  |  | 1000
| CPV St. Charles Energy Center | GTG | MD | Pepco | 2017-04-01 |  |  | 725 |  |  |  | 725
| Mattawoman Energy LLC |  | MD | Pepco | 2019 |  |  |  |  | 894 |  | 894
| Keys Energy Center |  | MD | Pepco | 2018-04-01 |  |  |  | 736 |  |  | 736
Total Combined Cycle | [5 empty] | 309 | 0 | 1725 | 736 | 894 | 0 | 3664
Combustion Turbine | Perryman | GT-6 | MD | BG&E | Online | 131 | [5 empty] | 131
| Military Construction Project 222 | 1 | MD | Pepco | Online | 3.5 | [5 empty] | 3.5
Total Combustion Turbine | [5 empty] | 134.5 | 0 | 0 | 0 | 0 | 0 | 134.5
Solar PV | Cambridge Maryland Solar Farm | 1 | MD | DPL South | Online | 3.3 | [5 empty] | 3.3
| PSEG Waldorf Solar Energy Center (Rockfish) | 1 | MD | Pepco | Online | 10 | [5 empty] | 10
| Great Bay Solar |  | MD | DPL | 2017 |  |  | 150 |  |  |  | 150
| Vienna |  | MD | DPL | 2018 Q4 |  |  |  | 6 |  |  | 6
| Worcester 25kV |  | MD | DPL | 2017 Q4 |  |  | 20 |  |  |  | 20
| Todd 69kV |  | MD | DPL | 2017 Q3 |  |  | 20 |  |  |  | 20
| West Cambridge-Vienna 69kV |  | MD | DPL | 2017 Q3 |  |  | 19.5 |  |  |  | 19.5
| Church Hill 69kV |  | MD | DPL | Online | 6 | [5 empty] | 6
| Wye Mills 69kV |  | MD | DPL | Online |  | 10 |  |  |  |  | 10
| Perryman Solar |  | MD | BGE | Online | 20 | [5 empty] | 20
| Hebron Solar |  | MD | DPL | Online |  | 15 |  |  |  |  | 15
| Church 25kV |  | MD | DPL | Online |  | 6 |  |  |  |  | 6
Total Solar PV | [5 empty] | 39.3 | 31 | 209.5 | 6 | 0 | 0 | 285.8
| Fair Wind Generating Facility | 1 | MD | Allegheny | Online | 30 | [5 empty] | 30
| Chestertown-Millington |  | MD | DPL | 2018-04-01 |  |  |  | 100 |  |  | 100
Total Wind | [5 empty] | 30 | 0 | 0 | 100 | 0 | 0 | 130
Total RGGI PJM Firm Builds | [5 empty] | 512.8 | 31 | 1934.5 | 842 | 894 | 0 | 4214.3
Firm Retirements
Capacity Type | Plant Name | Units | State | Zone | Retirement Date | 2015 (MW) | 2016 (MW) | 2017 (MW) | 2018 (MW) | 2019 (MW) | 2020 (MW) | Total MW (2015-2020)
Oil/Gas | Riverside (MD) | 4 | MD | BG&E | 2016 |  | 78 |  |  |  |  | 78
| MCKEE RUN | 1 & 2 | DE | DPL North | 2017 |  |  | 34 |  |  |  | 34
| Perryman | 2 | MD | BG&E | 2016 |  | 51 |  |  |  |  | 51
Total Oil/Gas | [5 empty] | 0 | 129 | 34 | 0 | 0 | 0 | 163
Coal | Wagner | 2 | MD | BG&E | 2020 | [5 empty] | 135 | 135
Total Coal | [5 empty] | 0 | 0 | 0 | 0 | 0 | 135 | 135
Total RGGI PJM Retirements | [5 empty] | 0 | 129 | 34 | 0 | 0 | 135 | 298

## Firm-ISONE
RGGI Assumptions: ISO-NE Firm Builds and Retirements
Released 1/30/17
Firm Builds
Capacity Type | Plant Name | Units | State | Zone | Online Date | 2015 (MW) | 2016 (MW) | 2017 (MW) | 2018 (MW) | 2019 (MW) | 2020 (MW) | 2021 (MW) | Total MW (2015-2021)
Gas | Salem Harbor Gas Project | 5-7 | MA | Boston | 2017-06-01 |  |  | 674 |  |  |  |  | 674
| Canal 3 NRG | 1 | MA | SENE | 2019-06-01 |  |  |  |  | 336 |  |  | 336
| Watson 3 Braintree Electric | 1 | MA | SENE | 2020-06-01 | [5 empty] | 66 |  | 66
| West Medway | 2 | MA | SEMA/RI | 2018-06-01 |  |  |  | 195 |  |  |  | 195
| Wallingford | 6, 7 | CT | CT | 2018-01-01 |  |  |  | 90 |  |  |  | 90
| Towantic Energy Center | 1 | CT | CT | 2018-01-01 |  |  |  | 805 |  |  |  | 805
| Bridgeport Harbor | 6 | CT | CT | 2019-06-19 |  |  |  |  | 485 |  |  | 485
| GRE Capacity Uprate |  | NH | NH | 2017-05-30 |  |  | 41 |  |  |  |  | 41
Total Combined Cycle (CC)/Combustion Turbine (CT) | [5 empty] | 0 | 0 | 715 | 1090 | 821 | 66 | 0 | 2692
Solar PV | Madison Business Gateway Solar Farm |  | ME | ME | Online |  |  | 4.8 |  |  |  |  | 4.8
| Lebanon Solar Project (Ecos Energy) | 1 | CT | CT | 2017-05-17 |  |  | 2 |  |  |  |  | 2
| Stafford Solar Project (Stafford Middle School) | 1 | CT | CT | Online |  | 2.6 | [5 empty] | 2.6
| Estabrook Street Solar Project (Grafton) | 1 | MA | CMA | Online | 2 | [6 empty] | 2
| Chicopee River Solar Project | 1 | MA | WMA | Online | 2 | [6 empty] | 2
| North Adams E Street Landfill Solar | 1 | MA | WMA | Online | 2.2 | [6 empty] | 2.2
| Westford Solar | 1 | MA | WMA | 2018-06-01 |  |  |  | 1.8 |  |  |  | 1.8
| Silver Lake + Indian Orchard | 2 | MA | WMA | 2018-06-01 |  |  |  | 1.053 |  |  |  | 1.053
| WMA Chester Solar 1 | 1 | MA | WMA | 2018-06-01 |  |  |  | 1.9 |  |  |  | 1.9
| Treasure Valley- SE | 1 | MA | WMA | 2018-06-01 |  |  |  | 2.07 |  |  |  | 2.07
| Belchertown SEd | 1 | MA | WMA | 2018-06-01 |  |  |  | 0.53 |  |  |  | 0.53
| Fisher Road + Dartmouth Solar | 2 | MA | SEMA | 2018-06-01 |  |  |  | 3.35 |  |  |  | 3.35
| Plymouth Solar | 1 | MA | SEMA | 2018-06-01 |  |  |  | 1.9 |  |  |  | 1.9
| Uxbridge Solar | 1 | MA | SEMA | 2018-06-01 |  |  |  | 1.23 |  |  |  | 1.23
| Landcraft | 1 | MA | SEMA | 2018-06-01 |  |  |  | 1.35 |  |  |  | 1.35
| LSRHS | 1 | MA | NEMA/Boston | 2018-06-01 |  |  |  | 0.42 |  |  |  | 0.42
| Holliston | 1 | MA | NEMA/Boston | 2018-06-01 |  |  |  | 0.33 |  |  |  | 0.33
| Cheshire Solar |  | NH | NH | 2018-04-18 |  |  |  | 65 |  |  |  | 65
| Rockingham Solar |  | NH | NH | 2017-09-15 |  |  | 10 |  |  |  |  | 10
| Chinook |  | NH | NH | 2019 |  |  |  |  | 50 |  |  | 50
| Enfield |  | CT | CT | 2019 |  |  |  |  | 20 |  |  | 20
| Farmington |  | ME | ME | 2019 |  |  |  |  | 50 |  |  | 50
| Quinebaug |  | CT | CT | 2019 |  |  |  |  | 50 |  |  | 50
| Sanford |  | ME | ME | 2019 |  |  |  |  | 50 |  |  | 50
| Hope Farm |  | RI | RI | 2019 |  |  |  |  | 20 |  |  | 20
| Woods Hill | 1 | CT | CT | 2019 |  |  |  |  | 20 |  |  | 20
| Simsbury |  | CT | CT | 2019 |  |  |  |  | 26.4 |  |  | 26.4
| Candlewood |  | CT | CT | 2019 |  |  |  |  | 20 |  |  | 20
Total Solar PV | [5 empty] | 6.2 | 2.6 | 16.8 | 80.933 | 306.4 | 0 | 0 | 412.933
Wind | Colebrook South Wind Farm | 1 | CT | CT | Online | 4.8 | [6 empty] | 4.8
| Future Generation Wind Farm | 1 | MA | SEMA | Online |  | 8 | [5 empty] | 8
| Bingham Wind - Blue Sky West | 1 | ME | ME | Online |  | 184.8 | [5 empty] | 184.8
| Hancock Wind Project | ANC1 | ME | ME | Online |  | 51 | [5 empty] | 51
| Oakfield Wind Project | 1 | ME | ME | Online | 147.6 | [6 empty] | 147.6
| Passadumkeag Mountain Wind Project | 1 | ME | ME | Online |  | 42 | [5 empty] | 42
| Canton Mountain Wind |  | ME | ME | 2017-11-01 |  |  | 22.8 |  |  |  |  | 22.8
| Saddleback Ridge Wind Project |  | ME | ME | Online | 34.2 | [6 empty] | 34.2
| Jericho Mountain Wind Project | 1 | NH | NH | Online | 12 | [6 empty] | 12
| WED Coventry Wind Farm | 1-6 | RI | RI | Online/2017 |  | 13.5 | 1.5 |  |  |  |  | 15
| Block Island Offshore Wind | 1 | RI | RI | Online |  | 30 | [5 empty] | 30
| Pisgah Mountain Wind |  | ME | ME | Online |  | 9 | [5 empty] | 9
| Antrim |  | NH | NH | 2019 |  |  |  |  | 28.8 |  |  | 28.8
| Spruce Ridge Wind Farm |  | NH | NH | 2017-10-31 |  |  | 50.8 |  |  |  |  | 50.8
| Hillsborough Wind |  | NH | NH | 2017-07-01 |  |  | 28.4 |  |  |  |  | 28.4
| Deerfield Wind |  | VT | VT | 2017-12-01 |  |  | 30 |  |  |  |  | 30
Total Wind | [5 empty] | 198.6 | 338.3 | 133.5 | 0 | 28.8 | 0 | 0 | 699.2
Hydro | Townshend Dam Hydroelectric Project | Gen 1-12 | VT | VT | Online | 1.2 | [6 empty] | 1.2
| Ball Mountain Dam Hydro (Blue Heron) | 1 | VT | VT | 2019-04-01 |  |  |  |  | 2.2 |  |  | 2.2
| Littleton Hydro Uprate |  | NH | NH | 2020-05-31 | [5 empty] | 4.6 |  | 4.6
Total Hydro | [5 empty] | 1.2 | 0 | 0 | 0 | 2.2 | 4.6 | 0 | 8
Biomass | Palmer Renewable Energy | FB1 | MA | WMA | 2017-09-01 |  |  | 35 |  |  |  |  | 35
| Athens Biomass Plant- Cogen | 1 | ME | ME | Online |  | 8 | [5 empty] | 8
| Johnston Waste-to-Energy Project | 1 | RI | RI | 2017-09-01 |  |  | 3.2 |  |  |  |  | 3.2
Total Biomass | [5 empty] | 0 | 8 | 38.2 | 0 | 0 | 0 | 0 | 46.2
Other | New Haven Fuel Cell Project | 1 | CT | SWCT | Online | 2.8 | [6 empty] | 2.8
Total Other | [5 empty] | 2.8 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8
Total ISO-NE Firm Builds | [5 empty] | 208.8 | 348.9 | 903.5 | 1170.933 | 1158.4 | 70.6 | 0 | 3861.133
Firm Retirements
Capacity Type | Plant Name | Units | State | Zone | Retirement Date | 2015 (MW) | 2016 (MW) | 2017 (MW) | 2018 (MW) | 2019 (MW) | 2020 (MW) | 2021 (MW) | Total MW (2015-2021)
Gas | Medway Hydro | IC1 & IC2 & IC3 &IC4 | ME | BHE | 2015 | 8 | [6 empty] | 8
| Bar Harbor | 1 & 3 | ME | BHE | 2017-06-01 |  |  | 2.076 |  |  |  |  | 2.076
| Brayton Point | IC1 & IC2 & IC3 &IC4 | MA | RI | 2017-06-01 |  |  | 9.479 |  |  |  |  | 9.479
| Potter II Braintree Electric | 1 | MA | SEMA/RI | 2020-05-01 | [5 empty] | 84 |  | 84
Total Combustion Turbine | [5 empty] | 8 | 0 | 11.555 | 0 | 0 | 84 | 0 | 103.555
Coal | Brayton Point 1-3 | 1 & 2 & 3 | MA | RI | 2017-06-01 |  |  | 1099.5 |  |  |  |  | 1099.5
| Bridgeport Harbor | 3 | CT | CT | 2021-06-01 | [6 empty] | 383 | 383
Total Coal | [5 empty] | 0 | 0 | 1099.5 | 0 | 0 | 0 | 383 | 1482.5
Oil/Gas | Brayton Point 4 | 4 | MA | RI | 2017-06-01 |  |  | 435 |  |  |  |  | 435
Total O/G Steam | [5 empty] | 0 | 0 | 435 | 0 | 0 | 0 | 0 | 435
Nuclear | Pilgrim Nuclear Power Station | 1 | MA | SEMA | 2019-06-01 |  |  |  |  | 684.746 |  |  | 684.746
Total Nuclear | [5 empty] | 0 | 0 | 0 | 0 | 684.746 | 0 | 0 | 684.746
Total ISO-NE Retirements | [5 empty] | 8 | 0 | 1546.055 | 0 | 684.746 | 84 | 383 | 2705.801

## Transmission Projects
RGGI Assumptions: Transmission Projects
Released 1/30/17
ISO | Transmission project | Developer | Online Year
ISO-NE | Greater Boston Solutions | Eversource, National Grid, NHT | 2017-2019
ISO-NE | Quebec to New England | Multiple projects being considered | 2021
PJM | Lexington - Dooms Rebuild | Dominion | 2017